|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | | | | | | | | | | | |  |
|  |  |  |  |
|  |  | Result Name: | | 20200312-3enzyme\_231-2\_S1A02\_R1.bopx | | | | | | | | | | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Test Date: | | 2020/03/12 PM 05:04 | | Instrument ID: | | 9963002113800000 | | Key ID: |  | | | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Method Name: | | M-4-10-08-160 | | Software Version: | | 3.1.1 | | Firmware Version: | | | 112 | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Cartridge Number: | | S2-O-191220-128 | | Manufacture Date: | | 2019-Dec-20 | | Expiration Date: | | | 2020-Jun-17 | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Run#: | | 143 | | Alignment Marker: | | 20-1K (20 & 1000) | | Sample Name: | | |  | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Sample ID: | | 231-2 | | | | | | | | | | |  |
|  |  | | | | | | | | | | | | | |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | | 1 | | /3 | | Report date: | | | 2020/03/12 PM 05:29 | | |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | | | | | | |  |
|  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | No | | |  | | --- | | Time (sec.) | | |  | | --- | | RFU | | |  | | --- | | PeakArea | | |  | | --- | | bp | | |  | | --- | | Concn. (ng/µl) | | |  | | --- | | PeakStart (sec.) | | |  | | --- | | PeakEnd (sec.) | | | |  | | --- | | 1 | | |  | | --- | | 22.88 | | |  | | --- | | 0.93 | | |  | | --- | | 239,990 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 7.72 | | |  | | --- | | 23.04 | | | |  | | --- | | 2 | | |  | | --- | | 23.40 | | |  | | --- | | 0.96 | | |  | | --- | | 59,751 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 23.16 | | |  | | --- | | 26.92 | | | |  | | --- | | 3 | | |  | | --- | | 27.16 | | |  | | --- | | 0.30 | | |  | | --- | | 11,222 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 26.92 | | |  | | --- | | 28.56 | | | |  | | --- | | 4 | | |  | | --- | | 32.36 | | |  | | --- | | 0.71 | | |  | | --- | | 45,615 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 28.56 | | |  | | --- | | 32.52 | | | |  | | --- | | 5 | | |  | | --- | | 33.52 | | |  | | --- | | 0.80 | | |  | | --- | | 21,770 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 32.52 | | |  | | --- | | 33.64 | | | |  | | --- | | 6 | | |  | | --- | | 33.92 | | |  | | --- | | 0.81 | | |  | | --- | | 59,106 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 33.68 | | |  | | --- | | 38.84 | | | |  | | --- | | 7 | | |  | | --- | | 83.08 | | |  | | --- | | 18.25 | | |  | | --- | | 148,327 | | |  | | --- | | 20 | | |  | | --- | | N/A | | |  | | --- | | 82.04 | | |  | | --- | | 83.92 | | | |  | | --- | | 8 | | |  | | --- | | 121.84 | | |  | | --- | | 0.34 | | |  | | --- | | 8,295 | | |  | | --- | | 253 | | |  | | --- | | 0.02 | | |  | | --- | | 120.16 | | |  | | --- | | 122.20 | | | |  | | --- | | 9 | | |  | | --- | | 123.88 | | |  | | --- | | 0.89 | | |  | | --- | | 87,181 | | |  | | --- | | 266 | | |  | | --- | | 0.21 | | |  | | --- | | 122.20 | | |  | | --- | | 131.24 | | | |  | | --- | | 10 | | |  | | --- | | 139.96 | | |  | | --- | | 102.63 | | |  | | --- | | 6,614,072 | | |  | | --- | | 402 | | |  | | --- | | 13.98 | | |  | | --- | | 132.84 | | |  | | --- | | 148.24 | | | |  | | --- | | 11 | | |  | | --- | | 152.88 | | |  | | --- | | 0.91 | | |  | | --- | | 40,207 | | |  | | --- | | 730 | | |  | | --- | | 0.11 | | |  | | --- | | 149.52 | | |  | | --- | | 153.16 | | | |  | | --- | | 12 | | |  | | --- | | 153.36 | | |  | | --- | | 0.90 | | |  | | --- | | 8,005 | | |  | | --- | | 755 | | |  | | --- | | 0.02 | | |  | | --- | | 153.16 | | |  | | --- | | 153.48 | | | |  | | --- | | 13 | | |  | | --- | | 153.80 | | |  | | --- | | 0.89 | | |  | | --- | | 40,907 | | |  | | --- | | 778 | | |  | | --- | | 0.13 | | |  | | --- | | 153.48 | | |  | | --- | | 155.36 | | | |  | | --- | | 14 | | |  | | --- | | 155.48 | | |  | | --- | | 0.81 | | |  | | --- | | 12,404 | | |  | | --- | | 875 | | |  | | --- | | 0.05 | | |  | | --- | | 155.36 | | |  | | --- | | 155.96 | | | |  | | --- | | 15 | | |  | | --- | | 157.40 | | |  | | --- | | 18.80 | | |  | | --- | | 634,117 | | |  | | --- | | 1,000 | | |  | | --- | | N/A | | |  | | --- | | 156.00 | | |  | | --- | | 164.40 | | | |  | | --- | | 16 | | |  | | --- | | 164.64 | | |  | | --- | | 0.36 | | |  | | --- | | 10,394 | | |  | | --- | | 1,447 | | |  | | --- | | N/A | | |  | | --- | | 164.40 | | |  | | --- | | 165.56 | | | |  | | --- | | 17 | | |  | | --- | | 165.72 | | |  | | --- | | 0.35 | | |  | | --- | | 5,752 | | |  | | --- | | 1,530 | | |  | | --- | | N/A | | |  | | --- | | 165.56 | | |  | | --- | | 166.20 | | | |  | | --- | | 18 | | |  | | --- | | 166.32 | | |  | | --- | | 0.34 | | |  | | --- | | 3,637 | | |  | | --- | | 1,576 | | |  | | --- | | N/A | | |  | | --- | | 166.20 | | |  | | --- | | 166.60 | | | |  | | --- | | 19 | | |  | | --- | | 168.16 | | |  | | --- | | 0.44 | | |  | | --- | | 16,769 | | |  | | --- | | 1,728 | | |  | | --- | | N/A | | |  | | --- | | 166.60 | | |  | | --- | | 168.28 | | | |  | | --- | | 20 | | |  | | --- | | 168.64 | | |  | | --- | | 0.46 | | |  | | --- | | 8,050 | | |  | | --- | | 1,770 | | |  | | --- | | N/A | | |  | | --- | | 168.28 | | |  | | --- | | 168.96 | | | |  | | --- | | 21 | | |  | | --- | | 169.36 | | |  | | --- | | 0.48 | | |  | | --- | | 6,492 | | |  | | --- | | 1,835 | | |  | | --- | | N/A | | |  | | --- | | 168.96 | | |  | | --- | | 169.48 | | | |  | | --- | | 22 | | |  | | --- | | 170.00 | | |  | | --- | | 0.49 | | |  | | --- | | 45,933 | | |  | | --- | | 1,894 | | |  | | --- | | N/A | | |  | | --- | | 169.52 | | |  | | --- | | 173.84 | | | |  | | --- | | 23 | | |  | | --- | | 174.08 | | |  | | --- | | 0.33 | | |  | | --- | | 4,550 | | |  | | --- | | 2,404 | | |  | | --- | | N/A | | |  | | --- | | 173.84 | | |  | | --- | | 174.36 | | | |  | | --- | | 24 | | |  | | --- | | 174.52 | | |  | | --- | | 0.33 | | |  | | --- | | 4,902 | | |  | | --- | | 2,470 | | |  | | --- | | N/A | | |  | | --- | | 174.36 | | |  | | --- | | 174.92 | | | |  | | --- | | 25 | | |  | | --- | | 175.08 | | |  | | --- | | 0.34 | | |  | | --- | | 2,653 | | |  | | --- | | 2,557 | | |  | | --- | | N/A | | |  | | --- | | 174.92 | | |  | | --- | | 175.20 | | | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | 2 | /3 | Report date: | 2020/03/12 PM 05:29 | | |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | | | | | | |  |
|  |  |  |
|  |  |  | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | No | | |  | | --- | | Time (sec.) | | |  | | --- | | RFU | | |  | | --- | | PeakArea | | |  | | --- | | bp | | |  | | --- | | Concn. (ng/µl) | | |  | | --- | | PeakStart (sec.) | | |  | | --- | | PeakEnd (sec.) | | | |  | | --- | | 26 | | |  | | --- | | 175.76 | | |  | | --- | | 0.34 | | |  | | --- | | 6,851 | | |  | | --- | | 2,666 | | |  | | --- | | N/A | | |  | | --- | | 175.20 | | |  | | --- | | 176.00 | | | |  | | --- | | 27 | | |  | | --- | | 176.20 | | |  | | --- | | 0.33 | | |  | | --- | | 4,212 | | |  | | --- | | 2,739 | | |  | | --- | | N/A | | |  | | --- | | 176.00 | | |  | | --- | | 176.48 | | | |  | | --- | | 28 | | |  | | --- | | 176.60 | | |  | | --- | | 0.34 | | |  | | --- | | 3,297 | | |  | | --- | | 2,807 | | |  | | --- | | N/A | | |  | | --- | | 176.48 | | |  | | --- | | 176.84 | | | |  | | --- | | 29 | | |  | | --- | | 177.32 | | |  | | --- | | 0.35 | | |  | | --- | | 16,219 | | |  | | --- | | 2,935 | | |  | | --- | | N/A | | |  | | --- | | 176.84 | | |  | | --- | | 178.80 | | | |  | | --- | | 30 | | |  | | --- | | 179.04 | | |  | | --- | | 0.30 | | |  | | --- | | 17,914 | | |  | | --- | | 3,211 | | |  | | --- | | N/A | | |  | | --- | | 178.80 | | |  | | --- | | 181.88 | | | |  | | --- | | 31 | | |  | | --- | | 186.52 | | |  | | --- | | 0.64 | | |  | | --- | | 9,467 | | |  | | --- | | 4,746 | | |  | | --- | | N/A | | |  | | --- | | 186.44 | | |  | | --- | | 187.00 | | | |  | | --- | | 32 | | |  | | --- | | 187.40 | | |  | | --- | | 0.65 | | |  | | --- | | 38,092 | | |  | | --- | | 4,984 | | |  | | --- | | N/A | | |  | | --- | | 187.00 | | |  | | --- | | 192.24 | | | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | 3 | /3 | Report date: | 2020/03/12 PM 05:29 | | |  |