|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | | | | | | | | | | | |  |
|  |  |  |  |
|  |  | Result Name: | | MPCR\_233-3\_S1A03\_R1.bopx | | | | | | | | | | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Test Date: | | 2020/03/18 AM 10:43 | | Instrument ID: | | 9963002113800000 | | Key ID: |  | | | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Method Name: | | M-4-10-08-160 | | Software Version: | | 3.1.1 | | Firmware Version: | | | 112 | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Cartridge Number: | | S2-O-191220-128 | | Manufacture Date: | | 2019-Dec-20 | | Expiration Date: | | | 2020-Jun-17 | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Run#: | | 136 | | Alignment Marker: | | 20-5K (20 & 5000) | | Sample Name: | | |  | |  |
|  |  |  | | | | | | | | | | | | |  |
|  |  | Sample ID: | | 233-3 | | | | | | | | | | |  |
|  |  | | | | | | | | | | | | | |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | | 1 | | /7 | | Report date: | | | 2020/03/18 AM 11:17 | | |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | | | | | | |  |
|  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | No | | |  | | --- | | Time (sec.) | | |  | | --- | | RFU | | |  | | --- | | PeakArea | | |  | | --- | | bp | | |  | | --- | | Concn. (ng/µl) | | |  | | --- | | PeakStart (sec.) | | |  | | --- | | PeakEnd (sec.) | | | |  | | --- | | 1 | | |  | | --- | | 22.00 | | |  | | --- | | 0.73 | | |  | | --- | | 163,316 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 7.84 | | |  | | --- | | 22.08 | | | |  | | --- | | 2 | | |  | | --- | | 22.40 | | |  | | --- | | 0.75 | | |  | | --- | | 9,448 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 22.08 | | |  | | --- | | 22.56 | | | |  | | --- | | 3 | | |  | | --- | | 22.88 | | |  | | --- | | 0.75 | | |  | | --- | | 52,310 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 22.56 | | |  | | --- | | 27.28 | | | |  | | --- | | 4 | | |  | | --- | | 32.12 | | |  | | --- | | 0.62 | | |  | | --- | | 46,971 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 27.28 | | |  | | --- | | 32.36 | | | |  | | --- | | 5 | | |  | | --- | | 33.52 | | |  | | --- | | 0.77 | | |  | | --- | | 35,337 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 32.36 | | |  | | --- | | 34.60 | | | |  | | --- | | 6 | | |  | | --- | | 35.16 | | |  | | --- | | 0.37 | | |  | | --- | | 15,909 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 34.60 | | |  | | --- | | 36.60 | | | |  | | --- | | 7 | | |  | | --- | | 36.76 | | |  | | --- | | 0.25 | | |  | | --- | | 2,189 | | |  | | --- | | <LM | | |  | | --- | | N/A | | |  | | --- | | 36.60 | | |  | | --- | | 37.12 | | | |  | | --- | | 8 | | |  | | --- | | 82.04 | | |  | | --- | | 30.40 | | |  | | --- | | 272,962 | | |  | | --- | | 20 | | |  | | --- | | N/A | | |  | | --- | | 80.40 | | |  | | --- | | 83.24 | | | |  | | --- | | 9 | | |  | | --- | | 85.36 | | |  | | --- | | 0.28 | | |  | | --- | | 5,769 | | |  | | --- | | 31 | | |  | | --- | | 0.02 | | |  | | --- | | 84.28 | | |  | | --- | | 85.60 | | | |  | | --- | | 10 | | |  | | --- | | 86.44 | | |  | | --- | | 1.11 | | |  | | --- | | 15,440 | | |  | | --- | | 35 | | |  | | --- | | 0.07 | | |  | | --- | | 85.60 | | |  | | --- | | 86.68 | | | |  | | --- | | 11 | | |  | | --- | | 87.72 | | |  | | --- | | 4.30 | | |  | | --- | | 61,348 | | |  | | --- | | 39 | | |  | | --- | | 0.30 | | |  | | --- | | 86.68 | | |  | | --- | | 88.36 | | | |  | | --- | | 12 | | |  | | --- | | 89.24 | | |  | | --- | | 5.40 | | |  | | --- | | 66,788 | | |  | | --- | | 44 | | |  | | --- | | 0.36 | | |  | | --- | | 88.36 | | |  | | --- | | 89.68 | | | |  | | --- | | 13 | | |  | | --- | | 90.68 | | |  | | --- | | 6.80 | | |  | | --- | | 83,195 | | |  | | --- | | 49 | | |  | | --- | | 0.50 | | |  | | --- | | 89.68 | | |  | | --- | | 91.24 | | | |  | | --- | | 14 | | |  | | --- | | 91.60 | | |  | | --- | | 0.72 | | |  | | --- | | 16,748 | | |  | | --- | | 57 | | |  | | --- | | 0.10 | | |  | | --- | | 91.24 | | |  | | --- | | 92.48 | | | |  | | --- | | 15 | | |  | | --- | | 92.64 | | |  | | --- | | 0.38 | | |  | | --- | | 8,029 | | |  | | --- | | 67 | | |  | | --- | | 0.05 | | |  | | --- | | 92.52 | | |  | | --- | | 93.36 | | | |  | | --- | | 16 | | |  | | --- | | 94.20 | | |  | | --- | | 5.41 | | |  | | --- | | 78,966 | | |  | | --- | | 83 | | |  | | --- | | 0.47 | | |  | | --- | | 93.36 | | |  | | --- | | 95.16 | | | |  | | --- | | 17 | | |  | | --- | | 95.88 | | |  | | --- | | 0.84 | | |  | | --- | | 15,511 | | |  | | --- | | 100 | | |  | | --- | | 0.09 | | |  | | --- | | 95.20 | | |  | | --- | | 96.56 | | | |  | | --- | | 18 | | |  | | --- | | 97.40 | | |  | | --- | | 9.05 | | |  | | --- | | 123,619 | | |  | | --- | | 109 | | |  | | --- | | 0.72 | | |  | | --- | | 96.56 | | |  | | --- | | 97.88 | | | |  | | --- | | 19 | | |  | | --- | | 98.36 | | |  | | --- | | 8.44 | | |  | | --- | | 114,135 | | |  | | --- | | 116 | | |  | | --- | | 0.66 | | |  | | --- | | 97.88 | | |  | | --- | | 99.48 | | | |  | | --- | | 20 | | |  | | --- | | 103.48 | | |  | | --- | | 11.13 | | |  | | --- | | 168,547 | | |  | | --- | | 148 | | |  | | --- | | 0.94 | | |  | | --- | | 102.64 | | |  | | --- | | 105.00 | | | |  | | --- | | 21 | | |  | | --- | | 105.76 | | |  | | --- | | 0.24 | | |  | | --- | | 3,895 | | |  | | --- | | 162 | | |  | | --- | | 0.02 | | |  | | --- | | 105.16 | | |  | | --- | | 106.28 | | | |  | | --- | | 22 | | |  | | --- | | 110.48 | | |  | | --- | | 0.24 | | |  | | --- | | 4,988 | | |  | | --- | | 191 | | |  | | --- | | 0.03 | | |  | | --- | | 108.84 | | |  | | --- | | 111.16 | | | |  | | --- | | 23 | | |  | | --- | | 112.88 | | |  | | --- | | 3.92 | | |  | | --- | | 80,409 | | |  | | --- | | 206 | | |  | | --- | | 0.41 | | |  | | --- | | 111.40 | | |  | | --- | | 114.00 | | | |  | | --- | | 24 | | |  | | --- | | 115.24 | | |  | | --- | | 0.80 | | |  | | --- | | 27,853 | | |  | | --- | | 222 | | |  | | --- | | 0.15 | | |  | | --- | | 114.00 | | |  | | --- | | 115.92 | | | |  | | --- | | 25 | | |  | | --- | | 116.76 | | |  | | --- | | 1.42 | | |  | | --- | | 38,220 | | |  | | --- | | 232 | | |  | | --- | | 0.22 | | |  | | --- | | 115.92 | | |  | | --- | | 118.00 | | | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | 2 | /7 | Report date: | 2020/03/18 AM 11:17 | | |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | | | | | | |  |
|  |  |  |
|  |  |  | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | No | | |  | | --- | | Time (sec.) | | |  | | --- | | RFU | | |  | | --- | | PeakArea | | |  | | --- | | bp | | |  | | --- | | Concn. (ng/µl) | | |  | | --- | | PeakStart (sec.) | | |  | | --- | | PeakEnd (sec.) | | | |  | | --- | | 26 | | |  | | --- | | 119.32 | | |  | | --- | | 19.92 | | |  | | --- | | 401,454 | | |  | | --- | | 248 | | |  | | --- | | 2.41 | | |  | | --- | | 118.04 | | |  | | --- | | 120.56 | | | |  | | --- | | 27 | | |  | | --- | | 121.36 | | |  | | --- | | 1.71 | | |  | | --- | | 56,366 | | |  | | --- | | 263 | | |  | | --- | | 0.33 | | |  | | --- | | 120.56 | | |  | | --- | | 122.60 | | | |  | | --- | | 28 | | |  | | --- | | 123.76 | | |  | | --- | | 1.43 | | |  | | --- | | 69,083 | | |  | | --- | | 281 | | |  | | --- | | 0.38 | | |  | | --- | | 122.60 | | |  | | --- | | 125.24 | | | |  | | --- | | 29 | | |  | | --- | | 126.24 | | |  | | --- | | 2.84 | | |  | | --- | | 76,915 | | |  | | --- | | 300 | | |  | | --- | | 0.41 | | |  | | --- | | 125.24 | | |  | | --- | | 127.16 | | | |  | | --- | | 30 | | |  | | --- | | 127.64 | | |  | | --- | | 0.69 | | |  | | --- | | 30,866 | | |  | | --- | | 312 | | |  | | --- | | 0.17 | | |  | | --- | | 127.16 | | |  | | --- | | 129.12 | | | |  | | --- | | 31 | | |  | | --- | | 131.24 | | |  | | --- | | 5.20 | | |  | | --- | | 147,854 | | |  | | --- | | 342 | | |  | | --- | | 0.85 | | |  | | --- | | 129.12 | | |  | | --- | | 131.72 | | | |  | | --- | | 32 | | |  | | --- | | 132.56 | | |  | | --- | | 41.65 | | |  | | --- | | 1,006,150 | | |  | | --- | | 355 | | |  | | --- | | 5.88 | | |  | | --- | | 131.72 | | |  | | --- | | 133.76 | | | |  | | --- | | 33 | | |  | | --- | | 134.32 | | |  | | --- | | 5.38 | | |  | | --- | | 144,956 | | |  | | --- | | 376 | | |  | | --- | | 0.87 | | |  | | --- | | 133.76 | | |  | | --- | | 136.40 | | | |  | | --- | | 34 | | |  | | --- | | 144.08 | | |  | | --- | | 29.29 | | |  | | --- | | 980,812 | | |  | | --- | | 542 | | |  | | --- | | 9.28 | | |  | | --- | | 140.64 | | |  | | --- | | 145.16 | | | |  | | --- | | 35 | | |  | | --- | | 146.08 | | |  | | --- | | 12.95 | | |  | | --- | | 583,621 | | |  | | --- | | 610 | | |  | | --- | | 4.63 | | |  | | --- | | 145.16 | | |  | | --- | | 148.32 | | | |  | | --- | | 36 | | |  | | --- | | 149.40 | | |  | | --- | | 7.80 | | |  | | --- | | 255,658 | | |  | | --- | | 743 | | |  | | --- | | 1.60 | | |  | | --- | | 148.32 | | |  | | --- | | 150.52 | | | |  | | --- | | 37 | | |  | | --- | | 151.44 | | |  | | --- | | 87.54 | | |  | | --- | | 2,895,483 | | |  | | --- | | 847 | | |  | | --- | | 15.12 | | |  | | --- | | 150.52 | | |  | | --- | | 153.72 | | | |  | | --- | | 38 | | |  | | --- | | 155.16 | | |  | | --- | | 14.16 | | |  | | --- | | 1,060,530 | | |  | | --- | | 1,077 | | |  | | --- | | 4.24 | | |  | | --- | | 153.72 | | |  | | --- | | 157.40 | | | |  | | --- | | 39 | | |  | | --- | | 158.16 | | |  | | --- | | 8.87 | | |  | | --- | | 563,866 | | |  | | --- | | 1,427 | | |  | | --- | | 2.22 | | |  | | --- | | 157.40 | | |  | | --- | | 160.72 | | | |  | | --- | | 40 | | |  | | --- | | 161.20 | | |  | | --- | | 4.63 | | |  | | --- | | 176,812 | | |  | | --- | | 1,888 | | |  | | --- | | 0.69 | | |  | | --- | | 160.72 | | |  | | --- | | 162.32 | | | |  | | --- | | 41 | | |  | | --- | | 163.68 | | |  | | --- | | 4.52 | | |  | | --- | | 569,077 | | |  | | --- | | 2,261 | | |  | | --- | | 2.06 | | |  | | --- | | 162.32 | | |  | | --- | | 168.72 | | | |  | | --- | | 42 | | |  | | --- | | 169.84 | | |  | | --- | | 2.51 | | |  | | --- | | 161,436 | | |  | | --- | | 3,680 | | |  | | --- | | 0.27 | | |  | | --- | | 168.72 | | |  | | --- | | 171.32 | | | |  | | --- | | 43 | | |  | | --- | | 173.24 | | |  | | --- | | 18.08 | | |  | | --- | | 2,148,272 | | |  | | --- | | 5,000 | | |  | | --- | | N/A | | |  | | --- | | 171.32 | | |  | | --- | | 189.16 | | | |  | | --- | | 44 | | |  | | --- | | 189.96 | | |  | | --- | | 0.91 | | |  | | --- | | 22,935 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 189.16 | | |  | | --- | | 190.16 | | | |  | | --- | | 45 | | |  | | --- | | 190.80 | | |  | | --- | | 0.94 | | |  | | --- | | 21,193 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 190.16 | | |  | | --- | | 191.04 | | | |  | | --- | | 46 | | |  | | --- | | 191.28 | | |  | | --- | | 0.94 | | |  | | --- | | 10,267 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 191.04 | | |  | | --- | | 191.44 | | | |  | | --- | | 47 | | |  | | --- | | 191.68 | | |  | | --- | | 0.95 | | |  | | --- | | 16,952 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 191.44 | | |  | | --- | | 192.12 | | | |  | | --- | | 48 | | |  | | --- | | 194.00 | | |  | | --- | | 1.09 | | |  | | --- | | 126,995 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 192.12 | | |  | | --- | | 197.32 | | | |  | | --- | | 49 | | |  | | --- | | 197.60 | | |  | | --- | | 0.83 | | |  | | --- | | 17,927 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 197.32 | | |  | | --- | | 198.16 | | | |  | | --- | | 50 | | |  | | --- | | 198.40 | | |  | | --- | | 0.85 | | |  | | --- | | 9,108 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 198.16 | | |  | | --- | | 198.56 | | | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | 3 | /7 | Report date: | 2020/03/18 AM 11:17 | | |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | | | | | | |  |
|  |  |  |
|  |  |  | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | No | | |  | | --- | | Time (sec.) | | |  | | --- | | RFU | | |  | | --- | | PeakArea | | |  | | --- | | bp | | |  | | --- | | Concn. (ng/µl) | | |  | | --- | | PeakStart (sec.) | | |  | | --- | | PeakEnd (sec.) | | | |  | | --- | | 51 | | |  | | --- | | 199.00 | | |  | | --- | | 0.86 | | |  | | --- | | 25,985 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 198.56 | | |  | | --- | | 199.76 | | | |  | | --- | | 52 | | |  | | --- | | 199.92 | | |  | | --- | | 0.84 | | |  | | --- | | 9,089 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 199.76 | | |  | | --- | | 200.16 | | | |  | | --- | | 53 | | |  | | --- | | 200.32 | | |  | | --- | | 0.84 | | |  | | --- | | 7,436 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 200.16 | | |  | | --- | | 200.48 | | | |  | | --- | | 54 | | |  | | --- | | 201.44 | | |  | | --- | | 0.92 | | |  | | --- | | 70,595 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 200.48 | | |  | | --- | | 206.08 | | | |  | | --- | | 55 | | |  | | --- | | 210.44 | | |  | | --- | | 0.69 | | |  | | --- | | 42,243 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 206.08 | | |  | | --- | | 211.08 | | | |  | | --- | | 56 | | |  | | --- | | 211.84 | | |  | | --- | | 0.63 | | |  | | --- | | 8,038 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 211.72 | | |  | | --- | | 212.20 | | | |  | | --- | | 57 | | |  | | --- | | 212.52 | | |  | | --- | | 0.65 | | |  | | --- | | 10,122 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 212.24 | | |  | | --- | | 212.84 | | | |  | | --- | | 58 | | |  | | --- | | 213.00 | | |  | | --- | | 0.66 | | |  | | --- | | 5,179 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 212.84 | | |  | | --- | | 213.12 | | | |  | | --- | | 59 | | |  | | --- | | 213.60 | | |  | | --- | | 0.67 | | |  | | --- | | 16,562 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 213.12 | | |  | | --- | | 214.08 | | | |  | | --- | | 60 | | |  | | --- | | 214.28 | | |  | | --- | | 0.70 | | |  | | --- | | 6,858 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 214.08 | | |  | | --- | | 214.44 | | | |  | | --- | | 61 | | |  | | --- | | 216.60 | | |  | | --- | | 0.94 | | |  | | --- | | 110,393 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 214.44 | | |  | | --- | | 220.04 | | | |  | | --- | | 62 | | |  | | --- | | 220.76 | | |  | | --- | | 0.69 | | |  | | --- | | 13,342 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 220.04 | | |  | | --- | | 220.80 | | | |  | | --- | | 63 | | |  | | --- | | 221.16 | | |  | | --- | | 0.75 | | |  | | --- | | 9,357 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 220.80 | | |  | | --- | | 221.28 | | | |  | | --- | | 64 | | |  | | --- | | 222.92 | | |  | | --- | | 0.84 | | |  | | --- | | 36,910 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 221.28 | | |  | | --- | | 223.12 | | | |  | | --- | | 65 | | |  | | --- | | 223.68 | | |  | | --- | | 0.89 | | |  | | --- | | 18,969 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 223.12 | | |  | | --- | | 223.96 | | | |  | | --- | | 66 | | |  | | --- | | 224.12 | | |  | | --- | | 0.90 | | |  | | --- | | 68,561 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 223.96 | | |  | | --- | | 229.28 | | | |  | | --- | | 67 | | |  | | --- | | 231.32 | | |  | | --- | | 0.26 | | |  | | --- | | 7,828 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 229.28 | | |  | | --- | | 231.56 | | | |  | | --- | | 68 | | |  | | --- | | 231.68 | | |  | | --- | | 0.27 | | |  | | --- | | 3,124 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 231.56 | | |  | | --- | | 232.00 | | | |  | | --- | | 69 | | |  | | --- | | 232.12 | | |  | | --- | | 0.28 | | |  | | --- | | 3,619 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 232.00 | | |  | | --- | | 232.52 | | | |  | | --- | | 70 | | |  | | --- | | 232.88 | | |  | | --- | | 0.27 | | |  | | --- | | 3,581 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 232.56 | | |  | | --- | | 233.08 | | | |  | | --- | | 71 | | |  | | --- | | 235.44 | | |  | | --- | | 0.42 | | |  | | --- | | 21,300 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 233.08 | | |  | | --- | | 235.60 | | | |  | | --- | | 72 | | |  | | --- | | 235.76 | | |  | | --- | | 0.42 | | |  | | --- | | 8,981 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 235.60 | | |  | | --- | | 236.44 | | | |  | | --- | | 73 | | |  | | --- | | 236.64 | | |  | | --- | | 0.41 | | |  | | --- | | 7,705 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 236.44 | | |  | | --- | | 237.16 | | | |  | | --- | | 74 | | |  | | --- | | 237.24 | | |  | | --- | | 0.42 | | |  | | --- | | 2,469 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 237.16 | | |  | | --- | | 237.36 | | | |  | | --- | | 75 | | |  | | --- | | 238.12 | | |  | | --- | | 0.44 | | |  | | --- | | 9,625 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 237.36 | | |  | | --- | | 238.24 | | | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | 4 | /7 | Report date: | 2020/03/18 AM 11:17 | | |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | | | | | | |  |
|  |  |  |
|  |  |  | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | No | | |  | | --- | | Time (sec.) | | |  | | --- | | RFU | | |  | | --- | | PeakArea | | |  | | --- | | bp | | |  | | --- | | Concn. (ng/µl) | | |  | | --- | | PeakStart (sec.) | | |  | | --- | | PeakEnd (sec.) | | | |  | | --- | | 76 | | |  | | --- | | 238.64 | | |  | | --- | | 0.45 | | |  | | --- | | 6,102 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 238.24 | | |  | | --- | | 238.76 | | | |  | | --- | | 77 | | |  | | --- | | 238.88 | | |  | | --- | | 0.46 | | |  | | --- | | 7,244 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 238.76 | | |  | | --- | | 239.36 | | | |  | | --- | | 78 | | |  | | --- | | 239.60 | | |  | | --- | | 0.47 | | |  | | --- | | 5,963 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 239.36 | | |  | | --- | | 239.84 | | | |  | | --- | | 79 | | |  | | --- | | 240.08 | | |  | | --- | | 0.47 | | |  | | --- | | 4,567 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 239.84 | | |  | | --- | | 240.20 | | | |  | | --- | | 80 | | |  | | --- | | 240.24 | | |  | | --- | | 0.45 | | |  | | --- | | 5,339 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 240.20 | | |  | | --- | | 240.64 | | | |  | | --- | | 81 | | |  | | --- | | 241.92 | | |  | | --- | | 0.51 | | |  | | --- | | 16,087 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 240.84 | | |  | | --- | | 242.16 | | | |  | | --- | | 82 | | |  | | --- | | 243.56 | | |  | | --- | | 0.65 | | |  | | --- | | 29,796 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 242.16 | | |  | | --- | | 244.16 | | | |  | | --- | | 83 | | |  | | --- | | 244.32 | | |  | | --- | | 0.60 | | |  | | --- | | 6,530 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 244.16 | | |  | | --- | | 244.56 | | | |  | | --- | | 84 | | |  | | --- | | 244.68 | | |  | | --- | | 0.61 | | |  | | --- | | 4,175 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 244.56 | | |  | | --- | | 244.80 | | | |  | | --- | | 85 | | |  | | --- | | 245.68 | | |  | | --- | | 0.67 | | |  | | --- | | 17,605 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 244.80 | | |  | | --- | | 245.88 | | | |  | | --- | | 86 | | |  | | --- | | 246.28 | | |  | | --- | | 0.69 | | |  | | --- | | 20,188 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 245.88 | | |  | | --- | | 247.04 | | | |  | | --- | | 87 | | |  | | --- | | 247.36 | | |  | | --- | | 0.66 | | |  | | --- | | 8,470 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 247.04 | | |  | | --- | | 247.52 | | | |  | | --- | | 88 | | |  | | --- | | 247.72 | | |  | | --- | | 0.67 | | |  | | --- | | 18,760 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 247.52 | | |  | | --- | | 248.64 | | | |  | | --- | | 89 | | |  | | --- | | 248.92 | | |  | | --- | | 0.65 | | |  | | --- | | 40,893 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 248.64 | | |  | | --- | | 251.36 | | | |  | | --- | | 90 | | |  | | --- | | 251.60 | | |  | | --- | | 0.52 | | |  | | --- | | 4,576 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 251.52 | | |  | | --- | | 251.84 | | | |  | | --- | | 91 | | |  | | --- | | 253.48 | | |  | | --- | | 0.88 | | |  | | --- | | 60,107 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 251.84 | | |  | | --- | | 255.68 | | | |  | | --- | | 92 | | |  | | --- | | 256.40 | | |  | | --- | | 0.45 | | |  | | --- | | 8,943 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 255.68 | | |  | | --- | | 256.48 | | | |  | | --- | | 93 | | |  | | --- | | 256.72 | | |  | | --- | | 0.45 | | |  | | --- | | 4,823 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 256.48 | | |  | | --- | | 256.88 | | | |  | | --- | | 94 | | |  | | --- | | 257.44 | | |  | | --- | | 0.48 | | |  | | --- | | 7,783 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 256.92 | | |  | | --- | | 257.56 | | | |  | | --- | | 95 | | |  | | --- | | 258.00 | | |  | | --- | | 0.50 | | |  | | --- | | 12,749 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 257.56 | | |  | | --- | | 258.56 | | | |  | | --- | | 96 | | |  | | --- | | 258.80 | | |  | | --- | | 0.52 | | |  | | --- | | 6,079 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 258.56 | | |  | | --- | | 259.00 | | | |  | | --- | | 97 | | |  | | --- | | 259.28 | | |  | | --- | | 0.54 | | |  | | --- | | 14,289 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 259.00 | | |  | | --- | | 260.04 | | | |  | | --- | | 98 | | |  | | --- | | 260.16 | | |  | | --- | | 0.55 | | |  | | --- | | 4,820 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 260.04 | | |  | | --- | | 260.36 | | | |  | | --- | | 99 | | |  | | --- | | 260.48 | | |  | | --- | | 0.55 | | |  | | --- | | 4,306 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 260.36 | | |  | | --- | | 260.64 | | | |  | | --- | | 100 | | |  | | --- | | 260.88 | | |  | | --- | | 0.55 | | |  | | --- | | 15,135 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 260.64 | | |  | | --- | | 261.72 | | | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | 5 | /7 | Report date: | 2020/03/18 AM 11:17 | | |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | | | | | | |  |
|  |  |  |
|  |  |  | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | No | | |  | | --- | | Time (sec.) | | |  | | --- | | RFU | | |  | | --- | | PeakArea | | |  | | --- | | bp | | |  | | --- | | Concn. (ng/µl) | | |  | | --- | | PeakStart (sec.) | | |  | | --- | | PeakEnd (sec.) | | | |  | | --- | | 101 | | |  | | --- | | 261.96 | | |  | | --- | | 0.54 | | |  | | --- | | 5,314 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 261.72 | | |  | | --- | | 262.08 | | | |  | | --- | | 102 | | |  | | --- | | 262.56 | | |  | | --- | | 0.54 | | |  | | --- | | 10,134 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 262.08 | | |  | | --- | | 262.80 | | | |  | | --- | | 103 | | |  | | --- | | 262.88 | | |  | | --- | | 0.54 | | |  | | --- | | 11,552 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 262.80 | | |  | | --- | | 263.64 | | | |  | | --- | | 104 | | |  | | --- | | 263.92 | | |  | | --- | | 0.52 | | |  | | --- | | 8,622 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 263.64 | | |  | | --- | | 264.28 | | | |  | | --- | | 105 | | |  | | --- | | 264.56 | | |  | | --- | | 0.51 | | |  | | --- | | 6,423 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 264.28 | | |  | | --- | | 264.76 | | | |  | | --- | | 106 | | |  | | --- | | 264.92 | | |  | | --- | | 0.49 | | |  | | --- | | 5,814 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 264.76 | | |  | | --- | | 265.20 | | | |  | | --- | | 107 | | |  | | --- | | 265.36 | | |  | | --- | | 0.49 | | |  | | --- | | 5,237 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 265.20 | | |  | | --- | | 265.60 | | | |  | | --- | | 108 | | |  | | --- | | 265.84 | | |  | | --- | | 0.48 | | |  | | --- | | 7,513 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 265.60 | | |  | | --- | | 266.20 | | | |  | | --- | | 109 | | |  | | --- | | 266.76 | | |  | | --- | | 0.50 | | |  | | --- | | 22,959 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 266.20 | | |  | | --- | | 268.12 | | | |  | | --- | | 110 | | |  | | --- | | 268.36 | | |  | | --- | | 0.44 | | |  | | --- | | 5,561 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 268.12 | | |  | | --- | | 268.60 | | | |  | | --- | | 111 | | |  | | --- | | 269.12 | | |  | | --- | | 0.46 | | |  | | --- | | 13,879 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 268.60 | | |  | | --- | | 269.84 | | | |  | | --- | | 112 | | |  | | --- | | 270.12 | | |  | | --- | | 0.45 | | |  | | --- | | 6,774 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 269.84 | | |  | | --- | | 270.44 | | | |  | | --- | | 113 | | |  | | --- | | 270.56 | | |  | | --- | | 0.44 | | |  | | --- | | 3,371 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 270.44 | | |  | | --- | | 270.72 | | | |  | | --- | | 114 | | |  | | --- | | 271.08 | | |  | | --- | | 0.43 | | |  | | --- | | 10,529 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 270.72 | | |  | | --- | | 271.68 | | | |  | | --- | | 115 | | |  | | --- | | 272.04 | | |  | | --- | | 0.43 | | |  | | --- | | 13,915 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 271.68 | | |  | | --- | | 273.00 | | | |  | | --- | | 116 | | |  | | --- | | 273.56 | | |  | | --- | | 0.42 | | |  | | --- | | 9,900 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 273.00 | | |  | | --- | | 273.92 | | | |  | | --- | | 117 | | |  | | --- | | 274.04 | | |  | | --- | | 0.41 | | |  | | --- | | 3,198 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 273.96 | | |  | | --- | | 274.24 | | | |  | | --- | | 118 | | |  | | --- | | 274.44 | | |  | | --- | | 0.40 | | |  | | --- | | 6,675 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 274.24 | | |  | | --- | | 274.88 | | | |  | | --- | | 119 | | |  | | --- | | 275.08 | | |  | | --- | | 0.39 | | |  | | --- | | 6,776 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 274.96 | | |  | | --- | | 275.64 | | | |  | | --- | | 120 | | |  | | --- | | 276.04 | | |  | | --- | | 0.40 | | |  | | --- | | 12,716 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 275.64 | | |  | | --- | | 277.00 | | | |  | | --- | | 121 | | |  | | --- | | 277.44 | | |  | | --- | | 0.34 | | |  | | --- | | 8,255 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 277.00 | | |  | | --- | | 277.96 | | | |  | | --- | | 122 | | |  | | --- | | 278.08 | | |  | | --- | | 0.34 | | |  | | --- | | 4,203 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 277.96 | | |  | | --- | | 278.44 | | | |  | | --- | | 123 | | |  | | --- | | 278.92 | | |  | | --- | | 0.34 | | |  | | --- | | 9,405 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 278.44 | | |  | | --- | | 279.56 | | | |  | | --- | | 124 | | |  | | --- | | 279.76 | | |  | | --- | | 0.32 | | |  | | --- | | 2,811 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 279.56 | | |  | | --- | | 279.88 | | | |  | | --- | | 125 | | |  | | --- | | 280.00 | | |  | | --- | | 0.32 | | |  | | --- | | 10,385 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 279.88 | | |  | | --- | | 281.24 | | | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | 6 | /7 | Report date: | 2020/03/18 AM 11:17 | | |  |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | | | | | | | |  |
|  |  |  |
|  |  |  | |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | | |  | | --- | | No | | |  | | --- | | Time (sec.) | | |  | | --- | | RFU | | |  | | --- | | PeakArea | | |  | | --- | | bp | | |  | | --- | | Concn. (ng/µl) | | |  | | --- | | PeakStart (sec.) | | |  | | --- | | PeakEnd (sec.) | | | |  | | --- | | 126 | | |  | | --- | | 281.44 | | |  | | --- | | 0.29 | | |  | | --- | | 3,339 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 281.24 | | |  | | --- | | 281.68 | | | |  | | --- | | 127 | | |  | | --- | | 282.88 | | |  | | --- | | 0.32 | | |  | | --- | | 28,328 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 281.72 | | |  | | --- | | 285.80 | | | |  | | --- | | 128 | | |  | | --- | | 285.88 | | |  | | --- | | 0.24 | | |  | | --- | | 11,990 | | |  | | --- | | >15k | | |  | | --- | | N/A | | |  | | --- | | 285.80 | | |  | | --- | | 288.04 | | | | | | | |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  | | | | | | | | |  |
|  | Copyright 2005 - 2019 BiOptic Inc. | | | 7 | /7 | Report date: | 2020/03/18 AM 11:17 | | |  |